## Sheet1
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
1 | 1 | 0 | 1 | 3 | 2 | 2 | 3 | 1 | 10
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | Suraksha Vihar, New Delhi. | 01.09.2020 at 18:00 Hrs. (Time as feeder tripped) | Non-fatal | As per information received from local public of Suraksha Vihar, a person got injured from electric shock. Immediately, our lineman reached at site. At the time of incident, our HT Feeder DDA TC-1 From Bodella 2 Grid got tripped immediately at FSS RMU. As per information gathered from site, it has come to know that victim was trying to connect internet cable in HVDS HT Pole, in which Single Phase 25 KVA DT was installed, during that time his head must have touched the HT Bushing side of the DT and he slippled from the ladder and got injured. Victim was taken to Deen Dayal Hospital by his collegues. He is OK now. | NIL | NIL | NIL | NIL | NIL
2 | WZ-1, Om Vihar, Phase-1, Opp. Metro Pillar No. 698, Main Najafgarh, Uttam Nagar, New Delhi-110059. | 10.09.2020 at 00:12 Hrs. | Non-fatal | Sh. Dharambir Gahlot , Electrical Inspector has informed on 18.09.2020 that an electrical accident has occurred at above mentioned address on 10.09.2020 and requested for shutdown of line for measurement of clearances. Sub division team has no information of the said incident and therefore the same was not reported to Electrical Inspectorate on Form A. Accident was reported to Electrical Inspectorate by Police Station Uttam Nagar on 14.09.2020. FIR in this case has also been lodged by the victim Sh. Gajender Dutt regarding getting an electric shock from high tension wire . | NIL | NIL | NIL | NIL | NIL
3 | G.B.Pant Staff Qtr in Sub-Divison Okhla Ph-3, New Delhi | 12.09.2020 at 11:25 AM | Fatal | The said accident was occurred at 11.25 A.M on 12-09-2020 in which one L/M Mr. Naveen Mandal died. As per the information gathered from the site 4 employees name- 1. Mr. Naveen Mandal (L/M) 2. Mr. Pradeep kumar Yadav (L/M) 3. Mr. Jai Prakash(ALM) 4. Mr. Thakur Prasad(ALM) were working on pole no. NHP V 210 in G.B.Pant staff qtr type 1 in front of quarter no. 49 to balance load as per task given by SDO/SDO support concerned. Mr. Naveen (deceased) was standing on the pole when this accident happened. With in 4 to 5 minutes after stepping on the pole, the pole has suddenly fall inside the park which is adjacent to the pole and broken from 2 points- one at the ground level and second one from another point in the middle between two line and distribution box. The pole has fallen on the deceased's abdomen and below . He was immediately taken to first ESI hospital who then referred to AIIMS Trauma Centre where he died . All the safety measures were used by the staff as the deceased was wearing helmet due to which there was no head injury despite falling from the pole and have rope attached to his body. Also ladder was used for stepping on the pole. This pole seems to be quite old and may be one of the reasons for broken in between. One no. Jio fibre box was also found mounted on the pole. | NIL | NIL | NIL | NIL | NIL
4 | Jaffarpur Grid | 18.09.2020 | Non-fatal | As per information from DH,the AMC LM at Jaffarpur grid was trying to connect welding machine of Civil Contractor, which seems to have some inherent fault , to the output of CT meter of grid without informing anyone. As there was no protection between main line and CT meter output terminals and due to possible fault in welding machine, there was flash and as result the LM got burns. The LM was shifted to RML as there is no specialized facility at Jaffarpur hospital. As per medical report at 0900 pm, the LM has been shifted to ward and recovering as per concall discussion with AMC Contractor and Head C&M. | NIL | NIL | NIL | NIL | NIL
5 | Alvi Chowk, Nizamuddin Basti, New Delhi. | 18.09.2020 at 10:53 Hrs. | Fatal | A Complaint was received at around 10.53 Hrs at complaint center Jungpura, regarding leakage of current at Alvi Chowk Nizamuddin Basti and Sh Sudhir L/M deputed to attend the said complaint. The Lineman reached at site and reported to area SDO that a horse has been electrocuted at Alvi Chowk Nizamuddin Basti as per statement of residents of the said area and put the supply off of subjected area . Then SDO deputed maintenance team along with SDO support Sh Subhas Bhardwaj AM(O) On site inspection, it has been observed that horse has died at this site but there is no clue that it was died due to electrocution as there was no open cable at this side , there was only one underground cable which was not visible & laying at proper depth. So, there might be prospected that it had died with natural death or electrocution by illegal wire as it was totally theft prone area. | NIL | NIL | NIL | NIL | NIL
6 | Pole - BSES SVR Z294 & Premises H.NO. I-391 / 16, Hari Nagar Extn., Badarpur, New Delhi. | 26.09.2020 at about 3:00 PM | Non-fatal | A Non-Fatal Electrical Accident occurred on 26.09.2020 at about 03:00 PM at Pole - BSES SVR Z294 & Premises H. NO. I-391/16, Hari Nagar Extn., Badarpur, New Delhi. Herein, a 12 Years Old Girl has sustained burns on her elbows & stomach, when she was removing a chunni from HVDS Pole with an iron rod - from the second floor of said premise. Our relay & RMU worked perfectly and timely tripping of the ckt in 0.06 sec saved the life of injured. Status maintained and Ckt. energized after removing chunni from HVDS Trf. DD Set with an iron bar. The chunni, a melted earthing cable kept as evidence. After the incident, the victim was taken to Dabra Hospital where doctor treated her for mild burns and sent her home. | NIL | NIL | NIL | NIL | NIL
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  |  | - | 16357 | 16357 | 16357 | 0 | 16357 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  |  |  | 8831 | 8831 | 8831 | 0 | 8831 | 0
Continuous power supply failure requiring replacement of distribution transformer. |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) |  |  |  | 7523 | 7523 | 7523 | 0 | 7523 | 0
Continuous Schduled Power Outage |  |  |  | 724 | 724 | 724 | 0 | 724 | 0
Replacement of Burnt Meter or Stolen Meter |  |  | 590 | 3454 | 4044 | 2892 | 522 | 3414 | 630
FORMAT IV: Quality of Power Supply
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | Within Specified Time | Beyond specified time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem |  | 4 hours | 0 | 2774 | 2774 | 2774 | 0 | 2774 | 0
Tap setting of transformer
Repair of Distribution Line/transformer/ capacitor
Installation and Up gradation of High Tension/ Low Tension System
FORMAT V: Complaint about meters
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast |  | Within fifteen days | 2243 | 3986 | 6229 | 3199 | 674 | 3873 | 2356
Complaint lodged for accuracy test of meter-Slow |  | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter |  | Within fifteen days | 709 | 1861 | 2570 | 1278 | 850 | 2128 | 442
Complaint lodged for burnt meter |  | Restoration of supply with 3hrs and meter to be replaced within 3days. | 862 | 3843 | 4705 | 2349 | 1843 | 4192 | 513
Complaint lodged for stolen meter |  |  | 10 | 44 | 54 | 35 | 15 | 50 | 4
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required |  | 7 days | 3898 | 14479 | 18377 | 10673 | 3043 | 13716 | 4661
New Connection where RoW or road Cutting permission is required |  | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connection where no RoW or road Cutting permission is required |  | 7 days | 65 | 106 | 171 | 64 | 15 | 79 | 92
New Connection where RoW or road Cutting permission is required |  | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) |  | 15 days from receipt of payment
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. |  | Within 2 months from receipt of payment
3. Electrified areas (where new distribtion transformer is required) |  | Within 4 months from receipt of payment
4. Electrified Areas (where existing 11 KV network needs to be augmented) |  | 15 days
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) |  | 15 days
New Connections |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Load |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT VIII: Connection in un-electrified areas
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) |  | Within 4 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) |  | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name |  | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 39 | 1048 | 1087 | 1041 | 10 | 1051 | 36
Load Reduction |  | Within ten days of acceptance of application, shall be effective from next billing cycle | 45 | 1126 | 1171 | 1092 | 23 | 1115 | 56
Change of Category |  | As per Regulation 17 (5) | 345 | 482 | 827 | 359 | 22 | 381 | 446
Incase connection is denied after receipt of payment against demand note |  | - | 308 | 580 | 888 | 171 | 680 | 851 | 37
Connection energized through Loop |  | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent |  | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Service Area |  | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[6 empty] | With in Specified Time | Beyond Specified Time | Total
1 |  | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing |  | Only one bill in a Financial Year | 594 | 758 | 1352 | 553 | 19 | 572 | 780
Final bill for vacation of premises / change of occupance. |  | 5 days | 320 | 285 | 605 | 297 | 43 | 340 | 265
Non payment of dues by the consumer |  | 15 days | 7 | 231 | 238 | 234 | 0 | 234 | 4
Request for reconnection |  | 24hrs | 71 | 789 | 860 | 425 | 333 | 758 | 102
Consumer wanting disconnection |  | 5 days | 902 | 4854 | 5756 | 2799 | 2090 | 4889 | 867
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month |  | Total number of distribution transformers |  | Number of Distribution transformers failed |  | % Failure rate of distribution transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
7538 |  | 15 |  | 7553 |  | 4 |  | 5.296%
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered
FORMAT XII: Failure of Power Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
No. of power transformers at the beginning of the month |  | No. of power transformers added during the month |  | Total number of power transformers |  | Number of power transformers failed |  | % Failure rate of power transformers
1 |  | 2 |  | 3=1+2 |  | 4 |  | 5=(4)*100/(3)%
260 |  | 0 |  | 260 |  | 0 |  | 0%
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) |  | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[6 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 16357 |  | 16357 | 0 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 8831 |  | 8831 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 0 |  | 0 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 7523 |  | 7523 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 724 |  | 724 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 4044 |  | 2892 | 522 | 71.51%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 07H:42M
| Restoration of supply by 6:00 PM |  |  | ALL
3 | Faults in street light maintained by the licensee |  |  | 4194 |  | 4194 | 0 | 100%
Reliability Indices
4 | SAIFI |  |  | 0.39
| SAIDI |  |  | 0.19
| CAIDI |  |  | 0.48718
5 | Frequency variation |  |  | 0 |  | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 |  | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 |  | 0 | 0 | 0
* New method used for reliabilty index calculation*
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default.
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default.
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment.
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default.
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts
10 | Power Supply Failure | Power Supply Failure
11 | Total | Total
FORMAT XV: Unauthorized Use of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
No. of Cases Booked |  | No. of Cases where UUE is established by the Licensee |  | No. of cases where appeal filed by the consumer before the Appellate Authority |  | No. of cases decided by the Appellate Authority in favor of the Licensee |  | No. of cases decided by the Appellate Authority in the favor of the consumer
44 |  | 108 |  | 0 |  | 0 |  | 0
FORMAT XVI: Theft of Electricity
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
No. of Cases Booked |  | No. of complaints filed by the Licensee in Police Station |  | No. of cases in which judgement delivered by the Special Court |  | No. of cases decided by the Special Court in favor of Licensee |  | No. of cases decided by the Special Court in favor of Consumer
1712 |  | 1279 |  | 2 |  | 0 |  | 2

## FORMAT I
FORMAT I: Fatal and non-fatal accident report
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Number of Accidents during the month |  |  |  |  | Cumulative since starting of year |  | Cumulative since starting of year
Departmental |  | Outside |  |  | Departmental |  | Outside
FH | NFH | FH | FA | NFH | FH | NFH | FH | FA | NFH
1 | 1 | 0 | 1 | 3 | 2 | 2 | 3 | 1 | 10
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FH- Fatal Human
NFH- Non Fatal Human
FA- Fatal Animal

## FORMAT II
FORMAT II: Action taken report for safety measures complied for the accidents occurred
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Location of accident and details of victim | Date of occurrence | Type of accident | Cause of accident | Findings of CEI/EI /AEI | Remedies suggested by CEI/EI/AEI in various cases | Whether the remedy suggested is complied | Action taken to avoid recurrence of such accidents | Amount paid as compensation
1 | Suraksha Vihar, New Delhi. | 01.09.2020 at 18:00 Hrs. (Time as feeder tripped) | Non-fatal | As per information received from local public of Suraksha Vihar, a person got injured from electric shock. Immediately, our lineman reached at site. At the time of incident, our HT Feeder DDA TC-1 From Bodella 2 Grid got tripped immediately at FSS RMU. As per information gathered from site, it has come to know that victim was trying to connect internet cable in HVDS HT Pole, in which Single Phase 25 KVA DT was installed, during that time his head must have touched the HT Bushing side of the DT and he slippled from the ladder and got injured. Victim was taken to Deen Dayal Hospital by his collegues. He is OK now. | NIL | NIL | NIL | NIL | NIL
2 | WZ-1, Om Vihar, Phase-1, Opp. Metro Pillar No. 698, Main Najafgarh, Uttam Nagar, New Delhi-110059. | 10.09.2020 at 00:12 Hrs. | Non-fatal | Sh. Dharambir Gahlot , Electrical Inspector has informed on 18.09.2020 that an electrical accident has occurred at above mentioned address on 10.09.2020 and requested for shutdown of line for measurement of clearances. Sub division team has no information of the said incident and therefore the same was not reported to Electrical Inspectorate on Form A. Accident was reported to Electrical Inspectorate by Police Station Uttam Nagar on 14.09.2020. FIR in this case has also been lodged by the victim Sh. Gajender Dutt regarding getting an electric shock from high tension wire . | NIL | NIL | NIL | NIL | NIL
3 | G.B.Pant Staff Qtr in Sub-Divison Okhla Ph-3, New Delhi | 12.09.2020 at 11:25 AM | Fatal | The said accident was occurred at 11.25 A.M on 12-09-2020 in which one L/M Mr. Naveen Mandal died. As per the information gathered from the site 4 employees name- 1. Mr. Naveen Mandal (L/M) 2. Mr. Pradeep kumar Yadav (L/M) 3. Mr. Jai Prakash(ALM) 4. Mr. Thakur Prasad(ALM) were working on pole no. NHP V 210 in G.B.Pant staff qtr type 1 in front of quarter no. 49 to balance load as per task given by SDO/SDO support concerned. Mr. Naveen (deceased) was standing on the pole when this accident happened. With in 4 to 5 minutes after stepping on the pole, the pole has suddenly fall inside the park which is adjacent to the pole and broken from 2 points- one at the ground level and second one from another point in the middle between two line and distribution box. The pole has fallen on the deceased's abdomen and below . He was immediately taken to first ESI hospital who then referred to AIIMS Trauma Centre where he died . All the safety measures were used by the staff as the deceased was wearing helmet due to which there was no head injury despite falling from the pole and have rope attached to his body. Also ladder was used for stepping on the pole. This pole seems to be quite old and may be one of the reasons for broken in between. One no. Jio fibre box was also found mounted on the pole. | NIL | NIL | NIL | NIL | NIL
4 | Jaffarpur Grid | 18.09.2020 | Non-fatal | As per information from DH,the AMC LM at Jaffarpur grid was trying to connect welding machine of Civil Contractor, which seems to have some inherent fault , to the output of CT meter of grid without informing anyone. As there was no protection between main line and CT meter output terminals and due to possible fault in welding machine, there was flash and as result the LM got burns. The LM was shifted to RML as there is no specialized facility at Jaffarpur hospital. As per medical report at 0900 pm, the LM has been shifted to ward and recovering as per concall discussion with AMC Contractor and Head C&M. | NIL | NIL | NIL | NIL | NIL
5 | Alvi Chowk, Nizamuddin Basti, New Delhi. | 18.09.2020 at 10:53 Hrs. | Fatal | A Complaint was received at around 10.53 Hrs at complaint center Jungpura, regarding leakage of current at Alvi Chowk Nizamuddin Basti and Sh Sudhir L/M deputed to attend the said complaint. The Lineman reached at site and reported to area SDO that a horse has been electrocuted at Alvi Chowk Nizamuddin Basti as per statement of residents of the said area and put the supply off of subjected area . Then SDO deputed maintenance team along with SDO support Sh Subhas Bhardwaj AM(O) On site inspection, it has been observed that horse has died at this site but there is no clue that it was died due to electrocution as there was no open cable at this side , there was only one underground cable which was not visible & laying at proper depth. So, there might be prospected that it had died with natural death or electrocution by illegal wire as it was totally theft prone area. | NIL | NIL | NIL | NIL | NIL
6 | Pole - BSES SVR Z294 & Premises H.NO. I-391 / 16, Hari Nagar Extn., Badarpur, New Delhi. | 26.09.2020 at about 3:00 PM | Non-fatal | A Non-Fatal Electrical Accident occurred on 26.09.2020 at about 03:00 PM at Pole - BSES SVR Z294 & Premises H. NO. I-391/16, Hari Nagar Extn., Badarpur, New Delhi. Herein, a 12 Years Old Girl has sustained burns on her elbows & stomach, when she was removing a chunni from HVDS Pole with an iron rod - from the second floor of said premise. Our relay & RMU worked perfectly and timely tripping of the ckt in 0.06 sec saved the life of injured. Status maintained and Ckt. energized after removing chunni from HVDS Trf. DD Set with an iron bar. The chunni, a melted earthing cable kept as evidence. After the incident, the victim was taken to Dabra Hospital where doctor treated her for mild burns and sent her home. | NIL | NIL | NIL | NIL | NIL

## FORMAT III
FORMAT III: Action taken report for safety measures complied for the accidents occurred
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9
Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | 0 | - | 16357 | 16357 | 16357 | 0 | 16357 | 0
Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | 0 | 0 | 8831 | 8831 | 8831 | 0 | 8831 | 0
Continuous power supply failure requiring replacement of distribution transformer. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) | 0 | 0 | 7523 | 7523 | 7523 | 0 | 7523 | 0
Continuous Schduled Power Outage | 0 | 0 | 724 | 724 | 724 | 0 | 724 | 0
Replacement of Burnt Meter or Stolen Meter | 0 | 590 | 3454 | 4044 | 2892 | 522 | 3414 | 630

## FORMAT IV
FORMAT IV: Quality of Power Supply
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | Within Specified Time | Beyond specified time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Local Problem | 4 hours | 0 | 2774 | 2774 | 2774 | 0 | 2774 | 0
Tap setting of transformer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repair of Distribution Line/transformer/ capacitor | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Installation and Up gradation of High Tension/ Low Tension System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT V
FORMAT V: Complaint about meters
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaint lodged for accuracy test of meter-Fast | Within fifteen days | 2243 | 3986 | 6229 | 3199 | 674 | 3873 | 2356
Complaint lodged for accuracy test of meter-Slow | Within fifteen days | 0 | 0 | 0 | 0 | 0 | 0 | 0
Complaint lodged for defective / stuck meter | Within fifteen days | 709 | 1861 | 2570 | 1278 | 850 | 2128 | 442
Complaint lodged for burnt meter | Restoration of supply with 3hrs and meter to be replaced within 3days. | 862 | 3843 | 4705 | 2349 | 1843 | 4192 | 513
Complaint lodged for stolen meter |  | 10 | 44 | 54 | 35 | 15 | 50 | 4

## FORMAT VI
FORMAT VI: New Connections / Additional Load, where power suppply can be provided from existing network
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
New Connection where no RoW or road Cutting permission is required | 7 days | 3898 | 14479 | 18377 | 10673 | 3043 | 13716 | 4661
New Connection where RoW or road Cutting permission is required | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connection where no RoW or road Cutting permission is required | 7 days | 65 | 106 | 171 | 64 | 15 | 79 | 92
New Connection where RoW or road Cutting permission is required | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT VII
FORMAT VII: Applications for New Connections / Additional Load, where power supply requires extension of distribution system.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
1. Electrified Areas (where extension of line upto five poles is required) | 15 days from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
2. Electrified areas (where extension of lines or augmentation of Distribution Transformer capacity where peak load of transformer has reached 90% of its rated capacity. | Within 2 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
3. Electrified areas (where new distribtion transformer is required) | Within 4 months from receipt of payment | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. Electrified Areas (where existing 11 KV network needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
5. Electrified Areas (where existing 66/33 kV substation needs to be augmented) | 15 days | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Connections |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Additional Load |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT VIII
FORMAT VIII: Connection in un-electrified areas
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Un-Electrified Areas (Where connection from nearby existing network is possible) | Within 4 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0
Un-Electrified Areas/ Green Field Projects (Where new network is to be laid or grid station needs to be established) | Within 12 months from Commission's approval | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT IX
FORMAT IX: Transfer of Consumer's connection and conversion of services.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Transfer of Name | Within two billing cycles of acceptance of application or clearing of dues whichever is later | 39 | 1048 | 1087 | 1041 | 10 | 1051 | 36
Load Reduction | Within ten days of acceptance of application, shall be effective from next billing cycle | 45 | 1126 | 1171 | 1092 | 23 | 1115 | 56
Change of Category | As per Regulation 17 (5) | 345 | 482 | 827 | 359 | 22 | 381 | 446
Incase connection is denied after receipt of payment against demand note | - | 308 | 580 | 888 | 171 | 680 | 851 | 37
Connection energized through Loop | As per Regulation 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
If notice towards downward if any is not sent | 31st May of Financial year | 0 | 0 | 0 | 0 | 0 | 0 | 0

## FORMAT X
FORMAT X: Complaints about consumer's bills, disconnection, reconnection of supply.
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
Service Area | Standard | Pending complaint of the previous month | Complaint received during the month | Total Complaint | Complaints attended during the month |  |  | Balance complaint to be attended
[5 empty] | With in Specified Time | Beyond Specified Time | Total
1 | 2 | 3 | 4 | 5=3+4 | 6 | 7 | 8=6+7 | 9=5-8
Complaints on billing | Only one bill in a Financial Year | 594 | 758 | 1352 | 553 | 19 | 572 | 780
Final bill for vacation of premises / change of occupance. | 5 days | 320 | 285 | 605 | 297 | 43 | 340 | 265
Non payment of dues by the consumer | 15 days | 7 | 231 | 238 | 234 | 0 | 234 | 4
Request for reconnection | 24hrs | 71 | 789 | 860 | 425 | 333 | 758 | 102
Consumer wanting disconnection | 5 days | 902 | 4854 | 5756 | 2799 | 2090 | 4889 | 867

## FORMAT XI
FORMAT XI: Failure of Distribution Transformer
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
No. of Distribution transformers at the beginning of the month |  | No. of Distribution transformers added during the month | Total number of distribution transformers | Failed transformer | % Failure rate of distribution transformers
1 |  | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
7538 |  | 15 | 7553 | 4 | 5.296%
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
Note: | Only 3 phase transformers considered>=400 kVA
Only New transformers added in the system is considered against point no. 2
Only O&M failure considered

## FORMAT XII
FORMAT XI: Failure of Power Transformer
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
No. of power transformers at the beginning of the month | No. of power transformers added during the month | Total number of power transformers | Number of power transformers failed | % Failure rate of power transformers
1 | 2 | 3=1+2 | 4 | 5=(4)*100/(3)%
260 | 0 | 260 | 0 | 0%
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XIII
FORMAT XIII: Summary of Overall Standards of Performance.
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Service area |  | Overall Standards of Performance | Total Cases Received / Reported (A) | Complaints Attended (B) |  | Standard of Performance Achieved (C)
[5 empty] | Within Specified Time | Beyond specified time
1. Power Supply Failure
(i) | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting individual consumer and group of consumer upto 100 connected at Low voltage supply, excluding the failure where distribution transformer requires replacement. |  | 16357 | 16357 | 0 | 100%
(ii) | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. | Continuous power failure affecting more than 100 consumers connected at Low voltage supply excluding the failure where distribution transformer requires replacement. |  | 8831 | 8831 | 0 | 100%
(iii) | Continuous power supply failure requiring replacement of distribution transformer. | Continuous power supply failure requiring replacement of distribution transformer. |  | 0 | 0 | 0 | 100%
(iv) | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above | Continuous power failure affecting consumers connected through High Voltage Distribution System (HVDS) and not covered under (i) & (ii) above |  | 7523 | 7523 | 0 | 100%
(v) | Continuous scheduled power outages | Continuous scheduled power outages |  | 724 | 724 | 0 | 100%
(vi) | Replacement of burnt meter | Replacement of burnt meter or stolen meter |  | 4044 | 2892 | 522 | 71.51%
Period of Scheduled Outage
2 | Maximum duration in a single stretch |  |  | 07H:42M | 0 | 0 | 0%
| Restoration of supply by 6:00 PM |  |  | ALL | 0 | 0 | 0%
3 | Faults in street light maintained by the licensee |  |  | 4194 | 4194 | 0 | 100%
Reliability Indices
4 | SAIFI |  |  | 0.39 | 0 | 0 | 0
| SAIDI |  |  | 0.19 | 0 | 0 | 0
| CAIDI |  |  | 0.48718 | 0 | 0 | 0
5 | Frequency variation |  |  | 0 | 0 | 0 | 0
6 | Voltage imbalance |  |  | 0 | 0 | 0 | 0
7 | Percentage billing mistakes |  |  | 0 | 0 | 0 | 0

## FORMAT XIV
FORMAT XIV: Compensation Details
Name of Company: |  | BSES RAJDHANI POWER LIMITED.
Period of Report: |  | 2020-09-01
Year: |  | 2020
Sl. No. | Event |  | Compensation specified for violation of standard |  | Claimed |  | Payable/Paid
[5 empty] | No. of Cases | Amount Claimed | No. of cases in which compensation is payable | Amount of compensation payable in (Rs.) | Amount of compensation paid in (Rs.)
1 | Electricity connections |  |  |  | 0 | 0 | 0 | 0 | 0
(i) | Electrified Areas | Electrified Areas | 1.5% of the demand charges deposited by consumer for each day of default. |  | 0 | 0 | 0 | 0 | 0
(ii) | Augmentation Required | Augmentation Required | 1.5% of the demand charges deposited by consumer for each day of default | 1.5% of the demand charges deposited by consumer for each day of default | 0 | 0 | 0 | 0 | 0
(iii) | Un-electrified Areas | Un-electrified Areas | 1% of the amount deposited by developer/applicants per day of default. | 1% of the amount deposited by developer/applicants per day of default. | 0 | 0 | 0 | 0 | 0
(iv) | Connection denied after receipt of payment against demand note | Connection denied after receipt of payment against demand note | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 1.5% of the demand charges deposited by consumer for each day of default subject to maximum of the amount paid as per demand note. Default to be computed from the date of receipt of payment. | 0 | 0 | 0 | 0 | 0
(v) | Connection energized through loop | Connection energized through loop | Rs. 500 per kW of sanctioned/ contract demand | Rs. 500 per kW of sanctioned/ contract demand | 0 | 0 | 0 | 0 | 0
2 | Transfer of Name | Transfer of Name | Rs. 100 for each day of default. | Rs. 100 for each day of default. | 0 | 0 | 0 | 0 | 0
3 | Load Reduction | Load Reduction | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
4 | Notice for downward revision of load | Notice for downward revision of load | Rs. 500 for each case | Rs. 500 for each case | 0 | 0 | 0 | 0 | 0
5 | Change of category | Change of category | Rs. 100 for each day of default | Rs. 100 for each day of default | 0 | 0 | 0 | 0 | 0
6 | Complaints in billing | Complaints in billing | 10% of excess amount billed | 10% of excess amount billed | 0 | 0 | 0 | 0 | 0
7 | Replacement of meters | Replacement of meters | Rs.50 for each day of default | Rs.50 for each day of default | 0 | 0 | 0 | 0 | 0
8 | Fault in street light maintained by the Licensee | Fault in street light maintained by the Licensee | Rs. 75 for each day of default | Rs. 75 for each day of default | 0 | 0 | 0 | 0 | 0
9 | Voltage fluctuations and complainsts | Voltage fluctuations and complainsts |  |  | 0 | 0 | 0 | 0 | 0
10 | Power Supply Failure | Power Supply Failure |  |  | 0 | 0 | 0 | 0 | 0
11 | Total | Total |  |  | 0 | 0 | 0 | 0 | 0

## FORMAT XV
FORMAT XV: Unauthorized Use of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
No. of Cases Booked | No. of Cases where UUE is established by the Licensee | No. of cases where appeal filed by the consumer before the Appellate Authority | No. of cases decided by the Appellate Authority in favor of the Licensee | No. of cases decided by the Appellate Authority in the favor of the consumer
44 | 108 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0

## FORMAT XVI
FORMAT XVI: Theft of Electricity
Name of Company: | BSES RAJDHANI POWER LIMITED.
Period of Report: | 2020-09-01
Year: | 2020
No. of Cases Booked | No. of complaints filed by the Licensee in Police Station | No. of cases in which judgement delivered by the Special Court | No. of cases decided by the Special Court in favor of Licensee | No. of cases decided by the Special Court in favor of Consumer
1712 | 1279 | 2 | 0 | 2
0 | 0 | 0 | 0 | 0